Standard Operating Procedures

Laboratory Specific

Chemical: Ethyleneimine or Aziridine

Please fill out the form completely.  Print a copy and insert into your

Laboratory Safety Manual and Chemical Hygiene Plan.

Refer to instructions for assistance.

_____________________________________________________________________________

Department:______________________ __                     Date when SOP was written: _________

Date when SOP was approved by the lab supervisor: ___________________

Principal Investigator: _______________________________

Internal Laboratory Safety Coordinator/Lab Manager: __________________________________

Laboratory Phone: _________________  Office Phone: ___________________

Emergency Contact: __________________________________________________

(Name and Phone Number)

Location(s) covered by this SOP: _________________________________________

(Building/Room Number)

_____________________________________________________________________________

Type of SOP:            Process            Hazardous Chemical             Hazardous Class

Purpose

This SOP is designed to provide a general description of how to safely work with ethyleneimine.  Ethyleneimine is a Regulated Carcinogen.This SOP is general in nature, and since ethyleneimine can be used for a variety of different processes (nucleophilic ring opening, 1,3-dipole formation), other SOPs may be aplicable to the desired process as well.  If there are additional questions regarding the use of ethyleneimine in a specific process, please consult the PI.

Physical & Chemical Properties/Definition of Chemical Group

Ethyleneimine is a colorless liquid with an ammonia-like smell. It has a melting point of -78oC, a boiling point of 56oC, and a flash point of -11oC.  It is a highly flammable chemical that reacts with a wide variety of materials.

Potential Hazards/Toxicity

Ethyleneimine is a poison. It is toxic if swallowed, inhaled or absorbed through the skin. It is a carcinogen and a reproductive hazard. It is a chemical that is readily absorbed through skin and may cause sensitization. It is a severe irritant.

Personal Protective Equipment (PPE)

Gloves (heavy duty nitrile, viton or butyl), approved eye protection, lab coat, and appropriate lab attire (closed-toe shoes, long pants, etc.) are required whenever working with ethyleneimine. Good ventilation is also required. If splash occurs replace gloves immediately.

Engineering Controls

A functioning certified ducted fume hood with adequate ventilation is required for all procedures involving ethyleneimine.

First Aid Procedures

In case of contact, remove contaminated materials (gloves, clothing, etc.) and wash the affected area with water.  Consult the MSDS for further guidance depending on the type of exposure.

Special Handling and Storage Requirements

Ethyleneimine and it’s solutions must be stored in a secondary container.  It must be segregated from other chemicals that are not classified as select or regulated carcinogens and labeled as a carinogen.

Spill and Accident Procedure

Laboratory personnel will follow the spill and accident procedures according to the Chemical Hygiene Plan and MSDS. Report to Supervisor and EH&S for all spills and accidents.

Chemical Spill Dial 911 and x59797

Spill – Help contaminated or injured persons.  Evacuate the spill area.  Avoid breathing vapors.  Eliminate sources of ignition if the chemical is flammable.  If possible, confine the spill to a small area using a spill kit or absorbent material. Keep others from entering contaminated area (e.g., use caution tape, barriers, etc.).

Small (<1 L) – If you have training, you may assist in the clean-up effort.  Use appropriate personal protective equipment and clean-up material for chemical spilled.  Double bag spill waste in clear plastic bags, label and take to the next chemical waste pick-up.

Large (>1 L) – Dial 911 (or 310-825-1491 from cell phone) and EH&S at x59797 for assistance.

Chemical Spill on Body or Clothes – Remove clothing and rinse body thoroughly in emergency shower for at least 15 minutes.  Seek medical attention. Notify supervisor and EH&S at x59797 immediately.

Chemical Splash Into Eyes – Immediately rinse eyeball and inner surface of eyelid with water for 15 minutes by forcibly holding the eye open.  Seek medical attention. Notify supervisor and EH&S at x59797 immediately.

# Medical Emergency Dial 911 or x52111

Life Threatening Emergency, After Hours, Weekends And Holidays – Dial 911 (or 310-825-1491 from cell phone) or contact the Ronald Reagan UCLA Medical Center (emergency room) directly at x52111 (located at 757 Westwood Plaza, enter from Gayley Avenue). Note: All serious injuries must be reported to EH&S at x59797 within 8 hours.

Non-Life Threatening Emergency–  Go to the Occupational Health Facility (OHF), x56771, CHS room 67-120 (This is on the 6th floor, 7th corridor, room 120. Enter through the School of Dentistry on Tiverton Drive and proceed to the “O” elevator to the 6th floor.)Hours: M - F, 7:30 a.m. to 4:30 p.m. At all other times report to Ronald Regan UCLA Medical Center (emergency room) at x52111. Note: All serious injuries must be reported to EH&S at x59797 within 8 hours.

Needle stick/puncture exposure (as applicable to chemical handling procedure)–  Wash the affected area with antiseptic soap and warm water for 15 minutes. For mucous membrane exposure, flush the affected area for 15 minutes using an eyewash station. Page the needle stick nurse by dialing 231 from a campus phone, enter 93333 when prompted and then enter your extension.  Hours: M – F, 8:00 a.m. to 4:00 p.m. At all other times report to Ronald Regan UCLA Medical Center (emergency room) at x52111. Note: All needle stick/puncture exposures must be reported to EH&S at x59797 within 8 hours.

Decontamination/Waste Disposal Procedure

Ethyleneimine will be disposed of as hazardous waste in accordance with the lab's Chemical Hygiene Plan and the chemical's MSDS.

Material Safety Data Sheet (MSDS) Location

Online MSDS can be accessed at http://msds.ehs.ucla.edu.

Protocol/Procedure

Ethyleneimine is a three membered heterocyclic organic compound with one amine group and two methylene groups. It is a very reactive substrate in ring-opening reactions with many nucleophiles due to it’s ring strain. All work should be carried out inside a functioning chemical fume hood with appropriate PPE.  After work is completed, the area should be cleaned, and any contaminated materials disposed of properly.  Before leaving the work area, researchers should wash their hands in order to reduce the risk of contamination of non-lab areas.

NOTE

Any deviation from this SOP requires approval from PI.

Documentation of Training (signature of all users is required)

I have read and understand the content of this SOP:

Name                                             Signature                                      Date